## config
| Property | Value
0 | BaseMVA | 100
1 | Version | 3
2 | Name | IEEE 14
3 | Comments
4 | program | GridCal

## bus
| name | active | is_slack | Vnom | Vmin | Vmax | r_fault | x_fault | x | y | h | w | area | zone | substation
0 | Bus 1 HV | True | True | 139.92 | 0.94 | 1.06 | 0 | 0 | -2211.0 | -484.0 | 20.0 | 180.0 | Default | Default | Default
1 | Bus 2 HV | True | False | 137.94 | 0.94 | 1.06 | 0 | 0 | -1958.0 | -583.0 | 20.0 | 180.0 | Default | Default | Default
2 | Bus 3 HV | True | False | 133.32 | 0.94 | 1.06 | 0 | 0 | -1553.7999999999997 | -662.3027027027026 | 20.0 | 180.0 | Default | Default | Default
3 | Bus 4 HV | True | False | 134.46 | 0.94 | 1.06 | 0 | 0 | -1839.0 | -951.0 | 20.0 | 180.0 | Default | Default | Default
4 | Bus 5 HV | True | False | 134.67 | 0.94 | 1.06 | 0 | 0 | -2182.0 | -730.0 | 20.0 | 180.0 | Default | Default | Default
5 | Bus 6 LV | True | False | 35.31 | 0.94 | 1.06 | 0 | 0 | -2856.0 | -657.0 | 20.0 | 180.0 | Default | Default | Default
6 | Bus 7 ZV | True | False | 1.06 | 0.94 | 1.06 | 0 | 0 | -1881.0 | -1226.0 | 20.0 | 180.0 | Default | Default | Default
7 | Bus 8 TV | True | False | 11.99 | 0.94 | 1.06 | 0 | 0 | -1767.0 | -1498.0 | 20.0 | 180.0 | Default | Default | Default
8 | Bus 9 LV | True | False | 34.86 | 0.94 | 1.06 | 0 | 0 | -2146.0 | -1183.0 | 20.0 | 180.0 | Default | Default | Default
9 | Bus 10 LV | True | False | 34.69 | 0.94 | 1.06 | 0 | 0 | -2415.0 | -1127.0 | 20.0 | 180.0 | Default | Default | Default
10 | Bus 11 LV | True | False | 34.88 | 0.94 | 1.06 | 0 | 0 | -2614.0 | -979.0 | 20.0 | 180.0 | Default | Default | Default
11 | Bus 12 LV | True | False | 34.82 | 0.94 | 1.06 | 0 | 0 | -3472.0 | -1047.0 | 20.0 | 180.0 | Default | Default | Default
12 | Bus 13 LV | True | False | 34.66 | 0.94 | 1.06 | 0 | 0 | -3062.0 | -1225.0 | 20.0 | 180.0 | Default | Default | Default
13 | Bus 14 LV | True | False | 34.18 | 0.94 | 1.06 | 0 | 0 | -2666.0 | -1381.0 | 20.0 | 180.0 | Default | Default | Default

## branch
| name | bus_from | bus_to | active | rate | mttf | mttr | R | X | G | B | tolerance | length | tap_module | angle | bus_to_regulated | vset | temp_base | temp_oper | alpha | r_fault | x_fault | fault_pos | branch_type | template
0 | branch 0 | Bus 1 HV | Bus 2 HV | True | 192.6776297529172 | 0.0 | 0.0 | 0.01938 | 0.05917 | 0.0 | 0.0528 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | transformer | BranchTemplate
1 | branch 1 | Bus 1 HV | Bus 5 HV | True | 93.94916363308246 | 0.0 | 0.0 | 0.05403 | 0.22304 | 0.0 | 0.0492 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | transformer | BranchTemplate
2 | branch 2 | Bus 2 HV | Bus 3 HV | True | 88.90998375615371 | 0.0 | 0.0 | 0.04699 | 0.19797 | 0.0 | 0.0438 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | transformer | BranchTemplate
3 | branch 3 | Bus 2 HV | Bus 4 HV | True | 68.07853050952481 | 0.0 | 0.0 | 0.05811 | 0.17632 | 0.0 | 0.034 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | transformer | BranchTemplate
4 | branch 4 | Bus 2 HV | Bus 5 HV | True | 50.75330204604646 | 0.0 | 0.0 | 0.05695 | 0.17388 | 0.0 | 0.0346 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | transformer | BranchTemplate
5 | branch 5 | Bus 3 HV | Bus 4 HV | True | 29.0573600994579 | 0.0 | 0.0 | 0.06701 | 0.17103 | 0.0 | 0.0128 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | transformer | BranchTemplate
6 | branch 6 | Bus 4 HV | Bus 5 HV | True | 73.72074209727924 | 0.0 | 0.0 | 0.01335 | 0.04211 | 0.0 | 0.0 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | line | BranchTemplate
7 | branch 7 | Bus 4 HV | Bus 7 ZV | True | 33.67715851130917 | 0.0 | 0.0 | 0.0 | 0.20912 | 0.0 | 0.0 | 0 | 1 | 0.978 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | transformer | BranchTemplate
8 | branch 8 | Bus 4 HV | Bus 9 LV | True | 19.88232292673737 | 0.0 | 0.0 | 0.0 | 0.55618 | 0.0 | 0.0 | 0 | 1 | 0.969 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | transformer | BranchTemplate
9 | branch 9 | Bus 5 HV | Bus 6 LV | True | 58.77326562968891 | 0.0 | 0.0 | 0.0 | 0.25202 | 0.0 | 0.0 | 0 | 1 | 0.932 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | transformer | BranchTemplate
10 | branch 10 | Bus 6 LV | Bus 11 LV | True | 10.69597031744452 | 0.0 | 0.0 | 0.09498 | 0.1989 | 0.0 | 0.0 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | line | BranchTemplate
11 | branch 11 | Bus 6 LV | Bus 12 LV | True | 9.95980844058271 | 0.0 | 0.0 | 0.12291 | 0.25581 | 0.0 | 0.0 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | line | BranchTemplate
12 | branch 12 | Bus 6 LV | Bus 13 LV | True | 23.46192166335225 | 0.0 | 0.0 | 0.06615 | 0.13027 | 0.0 | 0.0 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | line | BranchTemplate
13 | branch 13 | Bus 7 ZV | Bus 8 TV | True | 28.0 | 0.0 | 0.0 | 0.0 | 0.17615 | 0.0 | 0.0 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | transformer | BranchTemplate
14 | branch 14 | Bus 7 ZV | Bus 9 LV | True | 33.49330570462391 | 0.0 | 0.0 | 0.0 | 0.11001 | 0.0 | 0.0 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | transformer | BranchTemplate
15 | branch 15 | Bus 9 LV | Bus 10 LV | True | 7.114898903238474 | 0.0 | 0.0 | 0.03181 | 0.0845 | 0.0 | 0.0 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | line | BranchTemplate
16 | branch 16 | Bus 9 LV | Bus 14 LV | True | 11.68127755962641 | 0.0 | 0.0 | 0.12711 | 0.27038 | 0.0 | 0.0 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | line | BranchTemplate
17 | branch 17 | Bus 10 LV | Bus 11 LV | True | 5.831190012715867 | 0.0 | 0.0 | 0.08205 | 0.19207 | 0.0 | 0.0 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | line | BranchTemplate
18 | branch 18 | Bus 12 LV | Bus 13 LV | True | 2.284459505720791 | 0.0 | 0.0 | 0.22092 | 0.19988 | 0.0 | 0.0 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | line | BranchTemplate
19 | branch 19 | Bus 13 LV | Bus 14 LV | True | 7.586985271697955 | 0.0 | 0.0 | 0.17093 | 0.34802 | 0.0 | 0.0 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | line | BranchTemplate

## load
| name | bus | active | P | Q | Ir | Ii | G | B | mttf | mttr
0 | Load1@Bus 2 HV | Bus 2 HV | TRUE | 21.7 | 12.7 | 0 | 0 | 0 | 0 | 0 | 0
1 | Load1@Bus 3 HV | Bus 3 HV | TRUE | 94.2 | 19 | 0 | 0 | 0 | 0 | 0 | 0
2 | Load1@Bus 4 HV | Bus 4 HV | TRUE | 47.8 | -3.9 | 0 | 0 | 0 | 0 | 0 | 0
3 | Load1@Bus 5 HV | Bus 5 HV | TRUE | 7.6 | 1.6 | 0 | 0 | 0 | 0 | 0 | 0
4 | Load1@Bus 6 LV | Bus 6 LV | TRUE | 11.2 | 7.5 | 0 | 0 | 0 | 0 | 0 | 0
5 | Load1@Bus 9 LV | Bus 9 LV | TRUE | 29.5 | 16.6 | 0 | 0 | 0 | 0 | 0 | 0
6 | Load1@Bus 10 LV | Bus 10 LV | TRUE | 9 | 5.8 | 0 | 0 | 0 | 0 | 0 | 0
7 | Load1@Bus 11 LV | Bus 11 LV | TRUE | 3.5 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0
8 | Load1@Bus 12 LV | Bus 12 LV | TRUE | 6.1 | 1.6 | 0 | 0 | 0 | 0 | 0 | 0
9 | Load1@Bus 13 LV | Bus 13 LV | TRUE | 13.5 | 5.8 | 0 | 0 | 0 | 0 | 0 | 0
10 | Load1@Bus 14 LV | Bus 14 LV | TRUE | 14.9 | 5 | 0 | 0 | 0 | 0 | 0 | 0

## load_P_prof
| Load1@Bus 2 HV | Load1@Bus 3 HV | Load1@Bus 4 HV | Load1@Bus 5 HV | Load1@Bus 6 LV | Load1@Bus 9 LV | Load1@Bus 10 LV | Load1@Bus 11 LV | Load1@Bus 12 LV | Load1@Bus 13 LV | Load1@Bus 14 LV
2019-01-01 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9
2019-01-01 01:00 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9
2019-01-01 02:00 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9
2019-01-01 03:00 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9
2019-01-01 04:00 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9
2019-01-01 05:00 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9
2019-01-01 06:00 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9
2019-01-01 07:00 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9
2019-01-01 08:00 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9
2019-01-01 09:00 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9
2019-01-01 10:00 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9
2019-01-01 11:00 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9
2019-01-01 12:00 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9
2019-01-01 13:00 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9
2019-01-01 14:00 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9
2019-01-01 15:00 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9
2019-01-01 16:00 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9
2019-01-01 17:00 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9
2019-01-01 18:00 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9
2019-01-01 19:00 | 21.7 | 94.2 | 47.8 | 7.6 | 11.2 | 29.5 | 9 | 3.5 | 6.1 | 13.5 | 14.9

## load_Q_prof
| Load1@Bus 2 HV | Load1@Bus 3 HV | Load1@Bus 4 HV | Load1@Bus 5 HV | Load1@Bus 6 LV | Load1@Bus 9 LV | Load1@Bus 10 LV | Load1@Bus 11 LV | Load1@Bus 12 LV | Load1@Bus 13 LV | Load1@Bus 14 LV
2019-01-01 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5
2019-01-01 01:00 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5
2019-01-01 02:00 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5
2019-01-01 03:00 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5
2019-01-01 04:00 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5
2019-01-01 05:00 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5
2019-01-01 06:00 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5
2019-01-01 07:00 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5
2019-01-01 08:00 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5
2019-01-01 09:00 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5
2019-01-01 10:00 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5
2019-01-01 11:00 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5
2019-01-01 12:00 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5
2019-01-01 13:00 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5
2019-01-01 14:00 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5
2019-01-01 15:00 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5
2019-01-01 16:00 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5
2019-01-01 17:00 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5
2019-01-01 18:00 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5
2019-01-01 19:00 | 12.7 | 19 | -3.9 | 1.6 | 7.5 | 16.6 | 5.8 | 1.8 | 1.6 | 5.8 | 5

## load_Ir_prof
| Load1@Bus 2 HV | Load1@Bus 3 HV | Load1@Bus 4 HV | Load1@Bus 5 HV | Load1@Bus 6 LV | Load1@Bus 9 LV | Load1@Bus 10 LV | Load1@Bus 11 LV | Load1@Bus 12 LV | Load1@Bus 13 LV | Load1@Bus 14 LV
2019-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 10:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 11:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 12:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 13:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 14:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 16:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 17:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## load_Ii_prof
| Load1@Bus 2 HV | Load1@Bus 3 HV | Load1@Bus 4 HV | Load1@Bus 5 HV | Load1@Bus 6 LV | Load1@Bus 9 LV | Load1@Bus 10 LV | Load1@Bus 11 LV | Load1@Bus 12 LV | Load1@Bus 13 LV | Load1@Bus 14 LV
2019-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 10:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 11:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 12:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 13:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 14:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 16:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 17:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## load_G_prof
| Load1@Bus 2 HV | Load1@Bus 3 HV | Load1@Bus 4 HV | Load1@Bus 5 HV | Load1@Bus 6 LV | Load1@Bus 9 LV | Load1@Bus 10 LV | Load1@Bus 11 LV | Load1@Bus 12 LV | Load1@Bus 13 LV | Load1@Bus 14 LV
2019-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 10:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 11:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 12:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 13:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 14:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 16:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 17:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## load_B_prof
| Load1@Bus 2 HV | Load1@Bus 3 HV | Load1@Bus 4 HV | Load1@Bus 5 HV | Load1@Bus 6 LV | Load1@Bus 9 LV | Load1@Bus 10 LV | Load1@Bus 11 LV | Load1@Bus 12 LV | Load1@Bus 13 LV | Load1@Bus 14 LV
2019-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 10:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 11:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 12:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 13:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 14:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 16:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 17:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019-01-01 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## static_generator
name | bus | active | P | Q | mttf | mttr

## battery
name | bus | active | is_controlled | P | Pf | Vset | Snom | Enom | max_soc | min_soc | soc_0 | charge_efficiency | discharge_efficiency | discharge_per_cycle | Qmin | Qmax | Pmin | Pmax | Cost | enabled_dispatch | mttf | mttr

## generator
| name | bus | active | is_controlled | P | Pf | Vset | Snom | Qmin | Qmax | Pmin | Pmax | Cost | enabled_dispatch | mttf | mttr
0 | gen 0 | Bus 1 HV | TRUE | TRUE | 232.4 | 0.8 | 1.06 | 9999 | 0 | 10 | 0 | 9999 | 1 | TRUE | 0 | 0
1 | gen 1 | Bus 2 HV | TRUE | TRUE | 40 | 0.8 | 1.045 | 9999 | -40 | 50 | 0 | 9999 | 1 | TRUE | 0 | 0
2 | gen 2 | Bus 3 HV | TRUE | TRUE | 0 | 0.8 | 1.01 | 9999 | 0 | 40 | 0 | 9999 | 1 | TRUE | 0 | 0
3 | gen 3 | Bus 6 LV | TRUE | TRUE | 0 | 0.8 | 1.07 | 9999 | -6 | 24 | 0 | 9999 | 1 | TRUE | 0 | 0
4 | gen 4 | Bus 8 TV | TRUE | TRUE | 0 | 0.8 | 1.09 | 9999 | -6 | 24 | 0 | 9999 | 1 | TRUE | 0 | 0

## generator_Vset_prof
| gen 0 | gen 1 | gen 2 | gen 3 | gen 4
2019-01-01 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09
2019-01-01 01:00 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09
2019-01-01 02:00 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09
2019-01-01 03:00 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09
2019-01-01 04:00 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09
2019-01-01 05:00 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09
2019-01-01 06:00 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09
2019-01-01 07:00 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09
2019-01-01 08:00 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09
2019-01-01 09:00 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09
2019-01-01 10:00 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09
2019-01-01 11:00 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09
2019-01-01 12:00 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09
2019-01-01 13:00 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09
2019-01-01 14:00 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09
2019-01-01 15:00 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09
2019-01-01 16:00 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09
2019-01-01 17:00 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09
2019-01-01 18:00 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09
2019-01-01 19:00 | 1.06 | 1.045 | 1.01 | 1.07 | 1.09

## generator_P_prof
| gen 0 | gen 1 | gen 2 | gen 3 | gen 4
2019-01-01 | 232.4 | 40 | 0 | 0 | 0
2019-01-01 01:00 | 232.4 | 40 | 0 | 0 | 0
2019-01-01 02:00 | 232.4 | 40 | 0 | 0 | 0
2019-01-01 03:00 | 232.4 | 40 | 0 | 0 | 0
2019-01-01 04:00 | 232.4 | 40 | 0 | 0 | 0
2019-01-01 05:00 | 232.4 | 40 | 0 | 0 | 0
2019-01-01 06:00 | 232.4 | 40 | 0 | 0 | 0
2019-01-01 07:00 | 232.4 | 40 | 0 | 0 | 0
2019-01-01 08:00 | 232.4 | 40 | 0 | 0 | 0
2019-01-01 09:00 | 232.4 | 40 | 0 | 0 | 0
2019-01-01 10:00 | 232.4 | 40 | 0 | 0 | 0
2019-01-01 11:00 | 232.4 | 40 | 0 | 0 | 0
2019-01-01 12:00 | 232.4 | 40 | 0 | 0 | 0
2019-01-01 13:00 | 232.4 | 40 | 0 | 0 | 0
2019-01-01 14:00 | 232.4 | 40 | 0 | 0 | 0
2019-01-01 15:00 | 232.4 | 40 | 0 | 0 | 0
2019-01-01 16:00 | 232.4 | 40 | 0 | 0 | 0
2019-01-01 17:00 | 232.4 | 40 | 0 | 0 | 0
2019-01-01 18:00 | 232.4 | 40 | 0 | 0 | 0
2019-01-01 19:00 | 232.4 | 40 | 0 | 0 | 0

## shunt
| name | bus | active | G | B | mttf | mttr
0 | shunt1@Bus 9 LV | Bus 9 LV | TRUE | 0 | 19 | 0 | 0

## shunt_G_prof
shunt1@Bus 9 LV
2019-01-01 | 0
2019-01-01 01:00 | 0
2019-01-01 02:00 | 0
2019-01-01 03:00 | 0
2019-01-01 04:00 | 0
2019-01-01 05:00 | 0
2019-01-01 06:00 | 0
2019-01-01 07:00 | 0
2019-01-01 08:00 | 0
2019-01-01 09:00 | 0
2019-01-01 10:00 | 0
2019-01-01 11:00 | 0
2019-01-01 12:00 | 0
2019-01-01 13:00 | 0
2019-01-01 14:00 | 0
2019-01-01 15:00 | 0
2019-01-01 16:00 | 0
2019-01-01 17:00 | 0
2019-01-01 18:00 | 0
2019-01-01 19:00 | 0

## shunt_B_prof
shunt1@Bus 9 LV
2019-01-01 | 19
2019-01-01 01:00 | 19
2019-01-01 02:00 | 19
2019-01-01 03:00 | 19
2019-01-01 04:00 | 19
2019-01-01 05:00 | 19
2019-01-01 06:00 | 19
2019-01-01 07:00 | 19
2019-01-01 08:00 | 19
2019-01-01 09:00 | 19
2019-01-01 10:00 | 19
2019-01-01 11:00 | 19
2019-01-01 12:00 | 19
2019-01-01 13:00 | 19
2019-01-01 14:00 | 19
2019-01-01 15:00 | 19
2019-01-01 16:00 | 19
2019-01-01 17:00 | 19
2019-01-01 18:00 | 19
2019-01-01 19:00 | 19

## wires
wire_name | r | x | gmr | max_current | xpos | ypos | phase

## overhead_line_types
tower_name | earth_resistivity | frequency | R1 | X1 | Gsh1 | Bsh1 | R0 | X0 | Gsh0 | Bsh0 | rating | wire_name | xpos | ypos | phase | r | x | gmr

## underground_cable_types
name | rating | R | X | G | B | R0 | X0 | G0 | B0

## sequence_line_types
name | rating | R | X | G | B | R0 | X0 | G0 | B0

## transformer_types
name | HV | LV | rating | Pcu | Pfe | I0 | Vsc